## BC SNR
In-built Body Coil SNR
| Transverse | Sagittal | Coronal | Mean
Signal to noise ratio | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Normalised SNR | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Plane: Transverse |  |  |  | Plane: Sagittal |  |  | Plane: Coronal
ROI | Signal Mean | Difference Standard Deviation |  | ROI | Signal Mean | Difference Standard Deviation | ROI | Signal Mean | Difference Standard Deviation
1 |  |  |  | 1 |  |  | 1
2 |  |  |  | 2 |  |  | 2
3 |  |  |  | 3 |  |  | 3
4 |  |  |  | 4 |  |  | 4
5 |  |  |  | 5 |  |  | 5
Signal to noise ratio | #DIV/0! |  |  | Signal to noise ratio | #DIV/0! |  | Signal to noise ratio | #DIV/0!
Input Parameters | Value
Phase encode matrix size | [6 empty] | BC_TRA_SNR_Images_with_ROIs
Frequency encode matrix size
Repetition time (ms)
Number of signal averages
Field-of-view (mm)
Bandwidth from scanner interface
Scanner manufacturer | Siemens
Static magnetic field strength (T) | 1.5
Q-factor for head or body | 1
Q-factor for test object | 1
Calculated Parameters | Value
±Bandwidth (kHz) | 0
Voxel size in the frequency encode direction (mm) | #DIV/0!
Voxel size in the phase encode direction (mm) | #DIV/0!
Slice width for transverse acquisition (mm) | 0 | [5 empty] | BC_SAG_SNR_Images_with_ROIs
Slice width for sagittal acquisition (mm) | 0
Slice width for coronal acquisition (mm) | 0
Fixed Parameters | Value
±Nominal bandwidth (kHz) | 30
SNR Normalisation Factors | Value
Bandwidth normalisation | 0
Voxel size correction (transverse) | #DIV/0!
Voxel size correction (sagittal) | #DIV/0!
Voxel size correction (coronal) | #DIV/0!
Scan time correction | #DIV/0!
Coil loading normalisation | 1
BC_COR_SNR_Images_with_ROIs
BW_siemens_ |  | #NAME?
BW_ge_ |  | #NAME?
BW_philips_
Note on A22: Wastling,Stephen: Readout bandwidth from scanner: - GE in +/-kHz (typically around ±16 kHz) - Philips fat-water shift in Px (typically 1.69 at 1.5T and 3.38 at 3T) - Siemens in Hz/Px (typically 130 Hz/Px)
Note on A23: Wastling,Stephen: Scanner manufacturer, used when calculating the bandwidth in ±kHz
Note on A24: Wastling,Stephen: Used when calculating the bandwidth in ±kHz from the fat-water shift for Philips scanners
Note on A25: Wastling,Stephen: Q-factor for the head (typically set to 1)
Note on A26: Wastling,Stephen: Q-factor for the test object (typically set to 1)
Note on A32: Wastling,Stephen: Copied from slice width sheet
Note on A33: Wastling,Stephen: Copied from slice width sheet
Note on A34: Wastling,Stephen: Copied from slice width sheet
Note on A37: Wastling,Stephen: ± Nominal bandwidth (kHz). Set to ± 30 kHz
Note on A40: Wastling,Stephen: Bandwidth normalisation
Note on A41: Wastling,Stephen: Voxel size correction. As per MagNET guidance, voxel sizes are converted to cm.
Note on A44: Wastling,Stephen: Scan-time correction. As per MagNET guidance, TR is converted to seconds
Note on A45: Wastling,Stephen: Coil loading normalisation
Instructions:
1. Enter the acquisition parameters into cells B17:B26
2. Copy the values from Analysis_Results\SNR\BC_TRA_SNR.csv into cells B9:C13
3. Copy the values from Analysis_Results\SNR\BC_SAG_SNR.csv into cells F9:G13
4. Copy the values from Analysis_Results\SNR\BC_COR_SNR.csv into cells J9:K13
5. Copy Analysis_Results\SNR\BC_TRA_SNR_Image_with_ROIs.png over cell I19
6. Copy Analysis_Results\SNR\BC_SAG_SNR_Image_with_ROIs.png over cell I33
7. Copy Analysis_Results\SNR\BC_COR_SNR_Image_with_ROIs.png over cell I48
The normailsed SNR (NSNR) is given by:
with measured in seconds, and the voxel sizes ( and ) in cm.
The nominal bandwith is and and are set to 1.
The normailsed SNR (NSNR) is given by:
𝑁𝑆𝑁𝑅=√(𝐵𝑊/(𝐵𝑊_𝑛𝑜𝑚 ).) 1/Δ𝑥Δ𝑦Δ𝑧.1/√(𝑁_𝑝𝑒.𝑇𝑅.𝑁𝑆𝐴).√(𝑄_ℎ𝑒𝑎𝑑/𝑄_(𝑡𝑒𝑠𝑡−𝑜𝑏𝑗) ).𝑆𝑁𝑅
with 𝑇𝑅 measured in seconds, and the voxel sizes (Δ𝑥,Δ𝑦 and Δ𝑧) in cm.
The nominal bandwith is ±30 𝑘𝐻𝑧 and 𝑄_ℎ𝑒𝑎𝑑 and 𝑄_(𝑡𝑒𝑠𝑡−𝑜𝑏𝑗) are set to 1.

## HC SNR
Head Coil SNR
| Transverse | Sagittal | Coronal | Mean
Signal to noise ratio | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Normalised SNR | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Plane: Transverse |  |  |  | Plane: Sagittal |  |  | Plane: Coronal
ROI | Signal Mean | Difference Standard Deviation |  | ROI | Signal Mean | Difference Standard Deviation | ROI | Signal Mean | Difference Standard Deviation
1 |  |  |  | 1 |  |  | 1
2 |  |  |  | 2 |  |  | 2
3 |  |  |  | 3 |  |  | 3
4 |  |  |  | 4 |  |  | 4
5 |  |  |  | 5 |  |  | 5
Signal to noise ratio | #DIV/0! |  |  | Signal to noise ratio | #DIV/0! |  | Signal to noise ratio | #DIV/0!
Input Parameters | Value
Phase encode matrix size | [6 empty] | HC_TRA_SNR_Images_with_ROIs
Frequency encode matrix size
Repetition time (ms)
Number of signal averages
Field-of-view (mm)
Bandwidth from scanner interface
Scanner manufacturer | Siemens
Static magnetic field strength (T) | 1.5
Q-factor for head or body | 1
Q-factor for test object | 1
Calculated Parameters | Value
±Bandwidth (kHz) | 0
Voxel size in the frequency encode direction (mm) | #DIV/0!
Voxel size in the phase encode direction (mm) | #DIV/0!
Slice width for transverse acquisition (mm) | 0 | [5 empty] | HC_SAG_SNR_Images_with_ROIs
Slice width for sagittal acquisition (mm) | 0
Slice width for coronal acquisition (mm) | 0
Fixed Parameters | Value
±Nominal bandwidth (kHz) | 30
SNR Normalisation Factors | Value
Bandwidth normalisation | 0
Voxel size correction (transverse) | #DIV/0!
Voxel size correction (sagittal) | #DIV/0!
Voxel size correction (coronal) | #DIV/0!
Scan time correction | #DIV/0!
Coil loading normalisation | 1
HC_COR_SNR_Images_with_ROIs
BW_siemens_ |  | #NAME?
BW_ge_ |  | #NAME?
BW_philips_
Note on A22: Wastling,Stephen: Readout bandwidth from scanner: - GE in +/-kHz (typically around ±16 kHz) - Philips fat-water shift in Px (typically 1.69 at 1.5T and 3.38 at 3T) - Siemens in Hz/Px (typically 130 Hz/Px)
Note on A23: Wastling,Stephen: Scanner manufacturer, used when calculating the bandwidth in ±kHz
Note on A24: Wastling,Stephen: Used when calculating the bandwidth in ±kHz from the fat-water shift for Philips scanners
Note on A25: Wastling,Stephen: Q-factor for the head (typically set to 1)
Note on A26: Wastling,Stephen: Q-factor for the test object (typically set to 1)
Note on A32: Wastling,Stephen: Copied from slice width sheet
Note on A33: Wastling,Stephen: Copied from slice width sheet
Note on A34: Wastling,Stephen: Copied from slice width sheet
Note on A37: Wastling,Stephen: ± Nominal bandwidth (kHz). Set to ± 30 kHz
Note on A40: Wastling,Stephen: Bandwidth normalisation
Note on A41: Wastling,Stephen: Voxel size correction. As per MagNET guidance, voxel sizes are converted to cm.
Note on A44: Wastling,Stephen: Scan-time correction. As per MagNET guidance, TR is converted to seconds
Note on A45: Wastling,Stephen: Coil loading normalisation
The normailsed SNR (NSNR) is given by:
with measured in seconds, and the voxel sizes ( and ) in cm.
The nominal bandwith is and and are set to 1.
The normailsed SNR (NSNR) is given by:
𝑁𝑆𝑁𝑅=√(𝐵𝑊/(𝐵𝑊_𝑛𝑜𝑚 ).) 1/Δ𝑥Δ𝑦Δ𝑧.1/√(𝑁_𝑝𝑒.𝑇𝑅.𝑁𝑆𝐴).√(𝑄_ℎ𝑒𝑎𝑑/𝑄_(𝑡𝑒𝑠𝑡−𝑜𝑏𝑗) ).𝑆𝑁𝑅
with 𝑇𝑅 measured in seconds, and the voxel sizes (Δ𝑥,Δ𝑦 and Δ𝑧) in cm.
The nominal bandwith is ±30 𝑘𝐻𝑧 and 𝑄_ℎ𝑒𝑎𝑑 and 𝑄_(𝑡𝑒𝑠𝑡−𝑜𝑏𝑗) are set to 1.
Instructions:
1. Enter the acquisition parameters into cells B17:B26
2. Copy the values from Analysis_Results\SNR\HC_TRA_SNR.csv into cells B9:C13
3. Copy the values from Analysis_Results\SNR\HC_SAG_SNR.csv into cells F9:G13
4. Copy the values from Analysis_Results\SNR\HC_COR_SNR.csv into cells J9:K13
5. Copy Analysis_Results\SNR\HC_TRA_SNR_Image_with_ROIs.png over cell I19
6. Copy Analysis_Results\SNR\HC_SAG_SNR_Image_with_ROIs.png over cell I33
7. Copy Analysis_Results\SNR\HC_COR_SNR_Image_with_ROIs.png over cell I48

## BC Uniformity
In-built Body Coil Uniformity
x-direction | y-direction | z-direction | Average | Standard Deviation
0 | 0 | 0 | 0 | 0
| Transverse | Sagittal | Coronal
Horizontal | 0 | 0 | 0
Vertical | 0 | 0 | 0
A
P
R
L
H
F
A
P
H
F
R
L
TRA
SAG
COR
X
Y
Y
Z
X
Z
Instructions:
1. Follow the instructions included in sheets "BC Tra Uniformity", "BC Sag Uniformity" and "BC Cor Uniformity"
2. Copy the Uniformity Profile chart into the report
The x-direction is left-right, the y-direction is up-down and the z-direction is along the bore:
y
z
x

## BC Tra Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0 | BC_TRA_UNIFORMITY_ROIs
7 |  |  | 0 | 7 |  |  | 0
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\BC_TRA_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\BC_TRA_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\BC_TRA_UNIFORMITY_ROIs.png over cell S13

## BC Sag Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0
7 |  |  | 0 | 7 |  |  | 0 | BC_SAG_UNIFORMITY_ROIs
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\BC_SAG_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\BC_SAG_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\BC_SAG_UNIFORMITY_ROIs.png over cell S13

## BC Cor Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0
7 |  |  | 0 | 7 |  |  | 0 | BC_COR_UNIFORMITY_ROIs
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\BC_COR_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\BC_COR_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\BC_COR_UNIFORMITY_ROIs.png over cell S13

## HC Uniformity
Head Coil Uniformity
x-direction | y-direction | z-direction | Average | Standard Deviation
0 | 0 | 0 | 0 | 0
| Transverse | Sagittal | Coronal
Horizontal | 0 | 0 | 0
Vertical | 0 | 0 | 0
A
P
R
L
H
F
A
P
H
F
R
L
TRA
SAG
COR
X
Y
Y
Z
X
Z
Instructions:
1. Follow the instructions included in sheets "HC Tra Uniformity", "HC Sag Uniformity" and "HC Cor Uniformity"
2. Copy the Uniformity Profile chart into the report
The x-direction is left-right, the y-direction is up-down and the z-direction is along the bore:
y
z
x

## HC Tra Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0
7 |  |  | 0 | 7 |  |  | 0 | HC_TRA_UNIFORMITY_ROIs
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\HC_TRA_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\HC_TRA_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\HC_TRA_UNIFORMITY_ROIs.png over cell S13

## HC Sag Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0
7 |  |  | 0 | 7 |  |  | 0 | HC_SAG_UNIFORMITY_ROIs
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\HC_SAG_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\HC_SAG_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\HC_SAG_UNIFORMITY_ROIs.png over cell S13

## HC Cor Uniformity
| Horizontal | Vertical
Fractional Uniformity | 0 | 0
Horizontal |  |  |  | Vertical
Pixel | Profile Data | Central ROI Mean | Abs Difference | Pixel | Profile Data | Central ROI Mean | Abs Difference
1 |  |  | 0 | 1 |  |  | 0
2 |  |  | 0 | 2 |  |  | 0
3 |  |  | 0 | 3 |  |  | 0
4 |  |  | 0 | 4 |  |  | 0
5 |  |  | 0 | 5 |  |  | 0
6 |  |  | 0 | 6 |  |  | 0
7 |  |  | 0 | 7 |  |  | 0 | HC_COR_UNIFORMITY_ROIs
8 |  |  | 0 | 8 |  |  | 0
9 |  |  | 0 | 9 |  |  | 0
10 |  |  | 0 | 10 |  |  | 0
11 |  |  | 0 | 11 |  |  | 0
12 |  |  | 0 | 12 |  |  | 0
13 |  |  | 0 | 13 |  |  | 0
14 |  |  | 0 | 14 |  |  | 0
15 |  |  | 0 | 15 |  |  | 0
16 |  |  | 0 | 16 |  |  | 0
17 |  |  | 0 | 17 |  |  | 0
18 |  |  | 0 | 18 |  |  | 0
19 |  |  | 0 | 19 |  |  | 0
20 |  |  | 0 | 20 |  |  | 0
21 |  |  | 0 | 21 |  |  | 0
22 |  |  | 0 | 22 |  |  | 0
23 |  |  | 0 | 23 |  |  | 0
24 |  |  | 0 | 24 |  |  | 0
25 |  |  | 0 | 25 |  |  | 0
26 |  |  | 0 | 26 |  |  | 0
27 |  |  | 0 | 27 |  |  | 0
28 |  |  | 0 | 28 |  |  | 0
29 |  |  | 0 | 29 |  |  | 0
30 |  |  | 0 | 30 |  |  | 0
31 |  |  | 0 | 31 |  |  | 0
32 |  |  | 0 | 32 |  |  | 0
33 |  |  | 0 | 33 |  |  | 0
34 |  |  | 0 | 34 |  |  | 0
35 |  |  | 0 | 35 |  |  | 0
36 |  |  | 0 | 36 |  |  | 0
37 |  |  | 0 | 37 |  |  | 0
38 |  |  | 0 | 38 |  |  | 0
39 |  |  | 0 | 39 |  |  | 0
40 |  |  | 0 | 40 |  |  | 0
41 |  |  | 0 | 41 |  |  | 0
42 |  |  | 0 | 42 |  |  | 0
43 |  |  | 0 | 43 |  |  | 0
44 |  |  | 0 | 44 |  |  | 0
45 |  |  | 0 | 45 |  |  | 0
46 |  |  | 0 | 46 |  |  | 0
47 |  |  | 0 | 47 |  |  | 0
48 |  |  | 0 | 48 |  |  | 0
49 |  |  | 0 | 49 |  |  | 0
50 |  |  | 0 | 50 |  |  | 0
51 |  |  | 0 | 51 |  |  | 0
52 |  |  | 0 | 52 |  |  | 0
53 |  |  | 0 | 53 |  |  | 0
54 |  |  | 0 | 54 |  |  | 0
55 |  |  | 0 | 55 |  |  | 0
56 |  |  | 0 | 56 |  |  | 0
57 |  |  | 0 | 57 |  |  | 0
58 |  |  | 0 | 58 |  |  | 0
59 |  |  | 0 | 59 |  |  | 0
60 |  |  | 0 | 60 |  |  | 0
61 |  |  | 0 | 61 |  |  | 0
62 |  |  | 0 | 62 |  |  | 0
63 |  |  | 0 | 63 |  |  | 0
64 |  |  | 0 | 64 |  |  | 0
65 |  |  | 0 | 65 |  |  | 0
66 |  |  | 0 | 66 |  |  | 0
67 |  |  | 0 | 67 |  |  | 0
68 |  |  | 0 | 68 |  |  | 0
69 |  |  | 0 | 69 |  |  | 0
70 |  |  | 0 | 70 |  |  | 0
71 |  |  | 0 | 71 |  |  | 0
72 |  |  | 0 | 72 |  |  | 0
73 |  |  | 0 | 73 |  |  | 0
74 |  |  | 0 | 74 |  |  | 0
75 |  |  | 0 | 75 |  |  | 0
76 |  |  | 0 | 76 |  |  | 0
77 |  |  | 0 | 77 |  |  | 0
78 |  |  | 0 | 78 |  |  | 0
79 |  |  | 0 | 79 |  |  | 0
80 |  |  | 0 | 80 |  |  | 0
81 |  |  | 0 | 81 |  |  | 0
82 |  |  | 0 | 82 |  |  | 0
83 |  |  | 0 | 83 |  |  | 0
84 |  |  | 0 | 84 |  |  | 0
85 |  |  | 0 | 85 |  |  | 0
86 |  |  | 0 | 86 |  |  | 0
87 |  |  | 0 | 87 |  |  | 0
88 |  |  | 0 | 88 |  |  | 0
89 |  |  | 0 | 89 |  |  | 0
90 |  |  | 0 | 90 |  |  | 0
91 |  |  | 0 | 91 |  |  | 0
92 |  |  | 0 | 92 |  |  | 0
93 |  |  | 0 | 93 |  |  | 0
94 |  |  | 0 | 94 |  |  | 0
95 |  |  | 0 | 95 |  |  | 0
96 |  |  | 0 | 96 |  |  | 0
97 |  |  | 0 | 97 |  |  | 0
98 |  |  | 0 | 98 |  |  | 0
99 |  |  | 0 | 99 |  |  | 0
100 |  |  | 0 | 100 |  |  | 0
101 |  |  | 0 | 101 |  |  | 0
102 |  |  | 0 | 102 |  |  | 0
103 |  |  | 0 | 103 |  |  | 0
104 |  |  | 0 | 104 |  |  | 0
105 |  |  | 0 | 105 |  |  | 0
106 |  |  | 0 | 106 |  |  | 0
107 |  |  | 0 | 107 |  |  | 0
108 |  |  | 0 | 108 |  |  | 0
109 |  |  | 0 | 109 |  |  | 0
110 |  |  | 0 | 110 |  |  | 0
111 |  |  | 0 | 111 |  |  | 0
112 |  |  | 0 | 112 |  |  | 0
113 |  |  | 0 | 113 |  |  | 0
114 |  |  | 0 | 114 |  |  | 0
115 |  |  | 0 | 115 |  |  | 0
116 |  |  | 0 | 116 |  |  | 0
117 |  |  | 0 | 117 |  |  | 0
118 |  |  | 0 | 118 |  |  | 0
119 |  |  | 0 | 119 |  |  | 0
120 |  |  | 0 | 120 |  |  | 0
121 |  |  | 0 | 121 |  |  | 0
122 |  |  | 0 | 122 |  |  | 0
123 |  |  | 0 | 123 |  |  | 0
124 |  |  | 0 | 124 |  |  | 0
125 |  |  | 0 | 125 |  |  | 0
126 |  |  | 0 | 126 |  |  | 0
127 |  |  | 0 | 127 |  |  | 0
128 |  |  | 0 | 128 |  |  | 0
129 |  |  | 0 | 129 |  |  | 0
130 |  |  | 0 | 130 |  |  | 0
131 |  |  | 0 | 131 |  |  | 0
132 |  |  | 0 | 132 |  |  | 0
133 |  |  | 0 | 133 |  |  | 0
134 |  |  | 0 | 134 |  |  | 0
135 |  |  | 0 | 135 |  |  | 0
136 |  |  | 0 | 136 |  |  | 0
137 |  |  | 0 | 137 |  |  | 0
138 |  |  | 0 | 138 |  |  | 0
139 |  |  | 0 | 139 |  |  | 0
140 |  |  | 0 | 140 |  |  | 0
141 |  |  | 0 | 141 |  |  | 0
142 |  |  | 0 | 142 |  |  | 0
143 |  |  | 0 | 143 |  |  | 0
144 |  |  | 0 | 144 |  |  | 0
145 |  |  | 0 | 145 |  |  | 0
146 |  |  | 0 | 146 |  |  | 0
147 |  |  | 0 | 147 |  |  | 0
148 |  |  | 0 | 148 |  |  | 0
149 |  |  | 0 | 149 |  |  | 0
150 |  |  | 0 | 150 |  |  | 0
151 |  |  | 0 | 151 |  |  | 0
152 |  |  | 0 | 152 |  |  | 0
153 |  |  | 0 | 153 |  |  | 0
154 |  |  | 0 | 154 |  |  | 0
155 |  |  | 0 | 155 |  |  | 0
156 |  |  | 0 | 156 |  |  | 0
157 |  |  | 0 | 157 |  |  | 0
158 |  |  | 0 | 158 |  |  | 0
159 |  |  | 0 | 159 |  |  | 0
160 |  |  | 0 | 160 |  |  | 0
Instructions:
1. Copy the values from Analysis_Results\Uniformity\HC_COR_UNIFORMITY_HORIZONTAL.csv into cells B6:C165
2. Copy the values from Analysis_Results\Uniformity\HC_COR_UNIFORMITY_VERTICAL.csv into cells G6:H165
3. Copy Analysis_Results\Uniformity\HC_COR_UNIFORMITY_ROIs.png over cell S13

## Geometric
Geometric Linearity and Distortion
Imaging Planes
| Transverse | Sagittal | Coronal | Average | Standard Deviation
Distance (mm) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Distortion (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Gradient Directions
| x-direction | y-direction | z-direction | Average | Standard Deviation
Distance (mm) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Distortion (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Distance between rods (mm) | 120
Plane: Transverse |  |  |  | Plane: Sagittal |  |  |  | Plane: Coronal
| Measured Distance (mm) | Error (mm) |  |  | Measured Distance (mm) | Error (mm) |  |  | Measured Distance (mm) | Error (mm)
Rod 1 to Rod 3 |  | -120 |  | Rod 1 to Rod 3 |  | -120 |  | Rod 1 to Rod 3 |  | -120
Rod 4 to Rod 6 |  | -120 |  | Rod 4 to Rod 6 |  | -120 |  | Rod 4 to Rod 6 |  | -120
Rod 7 to Rod 9 |  | -120 |  | Rod 7 to Rod 9 |  | -120 |  | Rod 7 to Rod 9 |  | -120
Rod 1 to Rod 7 |  | -120 |  | Rod 1 to Rod 7 |  | -120 |  | Rod 1 to Rod 7 |  | -120
Rod 2 to Rod 8 |  | -120 |  | Rod 2 to Rod 8 |  | -120 |  | Rod 2 to Rod 8 |  | -120
Rod 3 to Rod 9 |  | -120 |  | Rod 3 to Rod 9 |  | -120 |  | Rod 3 to Rod 9 |  | -120
BC_TRA_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES |  |  | BC_SAG_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES |  |  |  | BC_COR_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES
The x-direction is left-right, the y-direction is up-down and the z-direction is along the bore:
y
z
x
Rod positions:
1
2
3
4
5
6
7
8
9
Instructions:
1. Check the distance between the rods in cell B13, it should be 120 mm
2. Copy the values from Analysis_Results\Geometric_Linearity_and_Distortion\BC_TRA_GEOMETRIC_LINEARITY_DISTORTION.csv into cells B17:B22
3. Copy the values from Analysis_Results\Geometric_Linearity_and_Distortion\BC_SAG_GEOMETRIC_LINEARITY_DISTORTION.csv into cells E17:E22
4. Copy the values from Analysis_Results\Geometric_Linearity_and_Distortion\BC_COR_GEOMETRIC_LINEARITY_DISTORTION.csv into cells F17:F22
5. Copy Analysis_Results\Geometric_Linearity_and_Distortion\BC_TRA_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES.png over cell A38
6. Copy Analysis_Results\Geometric_Linearity_and_Distortion\BC_SAG_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES.png over cell D38
7. Copy Analysis_Results\Geometric_Linearity_and_Distortion\BC_COR_GEOMETRIC_LINEARITY_AND_DISTORTION_LINES.png over cell H38

## Slice Width
Slice Width
Slice width (mm)
Nominal | Transverse | Sagittal | Coronal | Average | Standard Deviation
5 | 0 | 0 | 0 | 0 | 0
Input Parameters | Value
Frequency encode matrix size | 256
Field-of-view (mm) | 256
Fixed Parameters | Value
Angle of plates in test object (deg) | 11.3
Calculated Parameters | Value
Stretch factor | 5.0045
Voxel size in the frequency encode direction (mm) | 1
FWHM transverse profile 1 (pixels) | 0
FWHM transverse profile 2 (pixels) | 0
FWHM sagittal profile 1 (pixels) | 0
FWHM sagittal profile 2 (pixels) | 0
FWHM coronal profile 1 (pixels) | 0
FWHM coronal profile 2 (pixels) | 0
Instructions:
1. Enter the frequency encode matrix size into cell B8
2. Enter the field-of-view into cell B9
3. Follow the instructions included in sheets "Tra Slice Width", "Sag Slice Width" and " Cor Slice Width"

## Tra Slice Width
Fitting Parameters | Value
Manual offset for baseline of profile 1 | 0
Manual offset for minimum of profile 1 | 25
Manual offset for baseline of profile 2 | 0
Manual offset for minimum of profile 2 | 25
Calculated Parameters | Value
FWHM profile 1 (pixels) | 0
FWHM profile 2 (pixels) | 0 |  | BC_TRA_SLICE_WIDTH_ROIs
Pixel | Profile 1 | Profile 2
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
Baseline | #DIV/0! | #DIV/0!
Minimum | 25 | 25
Half Minimum | #DIV/0! | #DIV/0!
Instructions:
1. Copy the values from Analysis_Results\Slice_Width\BC_TRA_SLICE_WIDTH_1.csv into cells B12:B131
2. Copy the values from Analysis_Results\Slice_Width\BC_TRA_SLICE_WIDTH_2.csv into cells C12:C131
3. Check the Baseline shown in the Profile 1 chart. If necessary adjust the position, using the offset in cell B2
4. Check the Minimum shown in the Profile 1 chart . If necessary adjust the position, using the offset in cell B3
5. Check the Baseline shown in the Profile 2 chart. If necessary adjust the position, using the offset in cell B4
6. Check the Minimum shown in the Profile 2 chart . If necessary adjust the position, using the offset in cell B5
7. Copy Analysis_Results\Slice_Width\BC_TRA_SLICE_WIDTH_ROIs.png over cell N11

## Sag Slice Width
Fitting Parameters | Value
Manual offset for baseline of profile 1 | 0
Manual offset for minimum of profile 1 | 25
Manual offset for baseline of profile 2 | 0
Manual offset for minimum of profile 2 | 25
Calculated Parameters | Value
FWHM profile 1 (pixels) | 0
FWHM profile 2 (pixels) | 0 |  | BC_SAG_SLICE_WIDTH_ROIs
Pixel | Profile 1 | Profile 2
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
Baseline | #DIV/0! | #DIV/0!
Minimum | 25 | 25
Half Minimum | #DIV/0! | #DIV/0!
Instructions:
1. Copy the values from Analysis_Results\Slice_Width\BC_SAG_SLICE_WIDTH_1.csv into cells B12:B131
2. Copy the values from Analysis_Results\Slice_Width\BC_SAG_SLICE_WIDTH_2.csv into cells C12:C131
3. Check the Baseline shown in the Profile 1 chart. If necessary adjust the position, using the offset in cell B2
4. Check the Minimum shown in the Profile 1 chart . If necessary adjust the position, using the offset in cell B3
5. Check the Baseline shown in the Profile 2 chart. If necessary adjust the position, using the offset in cell B4
6. Check the Minimum shown in the Profile 2 chart . If necessary adjust the position, using the offset in cell B5
7. Copy Analysis_Results\Slice_Width\BC_SAG_SLICE_WIDTH_ROIs.png over cell N11

## Cor Slice Width
Fitting Parameters | Value
Manual offset for baseline of profile 1 | 10
Manual offset for minimum of profile 1 | 30
Manual offset for baseline of profile 2 | 30
Manual offset for minimum of profile 2 | 10
Calculated Parameters | Value
FWHM profile 1 (pixels) | 0
FWHM profile 2 (pixels) | 0 |  | BC_COR_SLICE_WIDTH_ROIs
Pixel | Profile 1 | Profile 2
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
Baseline | #DIV/0! | #DIV/0!
Minimum | 30 | 10
Half Minimum | #DIV/0! | #DIV/0!
Instructions:
1. Copy the values from Analysis_Results\Slice_Width\BC_COR_SLICE_WIDTH_1.csv into cells B12:B131
2. Copy the values from Analysis_Results\Slice_Width\BC_COR_SLICE_WIDTH_2.csv into cells C12:C131
3. Check the Baseline shown in the Profile 1 chart. If necessary adjust the position, using the offset in cell B2
4. Check the Minimum shown in the Profile 1 chart . If necessary adjust the position, using the offset in cell B3
5. Check the Baseline shown in the Profile 2 chart. If necessary adjust the position, using the offset in cell B4
6. Check the Minimum shown in the Profile 2 chart . If necessary adjust the position, using the offset in cell B5
7. Copy Analysis_Results\Slice_Width\BC_COR_SLICE_WIDTH_ROIs.png over cell N11

## Slice Position
Slice Position
BC_TRA_SLICE_POSITION_LINES
Mean error + Std Dev Error (mm) | Mean Error (mm) | Mean error - Std Dev Error (mm) | Maximum (absolute) Error (mm)
#DIV/0! | #DIV/0! | #DIV/0! | 0
Input Parameters | Values
Slice thickness (mm)
Slice gap (mm)
Angled rod separation (mm) | 8
Distance between rods (mm) | 120
Calculated Parameters | Values
Slice offset (mm) | 0
Slice | Distance (mm) | Mean Test Object Distance (mm) | Correction Factor | Sign | Slice Position (measured) | Slice Position (calculated) | Slice Position Error (mm) | Absolute Error
1 |  |  |  | -1
2 |  |  |  | -1
3 |  |  |  | -1
4 |  |  |  | -1
5 |  |  |  | -1
6 |  |  |  | -1
7 |  |  |  | -1
8 |  |  |  | -1
9 |  |  |  | -1
10 |  |  |  | -1
11 |  |  |  | -1
12 |  |  |  | -1
13 |  |  |  | -1
14 |  |  |  | 1
15 |  |  |  | 1
16 |  |  |  | 1
17 |  |  |  | 1
18 |  |  |  | 1
19 |  |  |  | 1
20 |  |  |  | 1
21 |  |  |  | 1
22 |  |  |  | 1
23 |  |  |  | 1
24 |  |  |  | 1
25 |  |  |  | 1
26 |  |  |  | 1
27 |  |  |  | 1
[6 empty] | Mean | #DIV/0!
[6 empty] | Standard Deviation | #DIV/0!
[6 empty] | Maximum |  | 0
Note on B13: Wastling,Stephen: This is the formula for calculating the intercept of a straight-line fit via linear least squares
Instructions:
1. Enter the slice thickness into cell B7
2. Enter the slice gap in cell B8
3. Copy the values from Analysis_Results\Slice_Position\BC_TRA_SLICE_POSITION.csv into cells B17:C43
4. Copy from Analysis_Results\Slice_PositionBC_TRA_SLICE_POSITION_LINES.png over cell N3
5. Copy the Slice Position Error chart into the report

## EPI Stability
EPI Stability
Max signal | Min signal | Delta | Mean signal | Delta/Mean
0 | 0 | 0 | #DIV/0! | #DIV/0!
Per Set of 25 images
| 1 to 25 | 26 to 50 | 51 to 75 | 76 to 100
Mean Signal | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Signal Standard Deviation | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HC_TRA_EPI_STABILITY_ROI
Image Set | Signal
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 1-25
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 26-50
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 51-75
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
Images 76-100
This chart isn’t available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
Instructions:
1. Copy the values from from Analysis_Results\EPI_Stability\HC_TRA_EPI_STABILITY.csv into cells A12:A111
2. Copy Analysis_Results\EPI_Stability\HC_TRA_EPI_STABILITY_ROI.png over cell P11
3. Copy the Slice Variation Over Time into the report

## Tables for Report
Input Parameters | Value
System Name
Table 1: Body Coil NSNR | [5 empty] | Table 3: Body Coil Fractional Uniformity | [5 empty] | Table 5: Geometric Linearity for 3 Gradient Directions | [5 empty] | Table 7: Measured Slice Widths for a Nominal 5 mm Slice | [5 empty] | Table 8: Slice Position Error Measurements |  |  |  |  | Table 9: EPI Stability
Plane | Axial | Sagittal | Coronal | Mean |  | Gradient Direction | X | Y | Z | Mean | Standard Deviation | Gradient Direction | X | Y | Z | Mean | Standard Deviation | Plane | Axial | Sagittal | Coronal | Mean | Standard Deviation |  | Mean Error + Std Dev Error (mm) | Mean Error (mm) | Mean Error - Std Dev Error (mm) | Maximum (absolute) Error (mm) |  | Max signal | Min signal | Delta | Mean signal | Delta/Mean
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Table 2: Head Coil NSNR | [5 empty] | Table 4: Head Coil Fractional Uniformity | [5 empty] | Table 6: Geometric Distortion (%) for 3 Gradient Directions
Plane | Axial | Sagittal | Coronal | Mean |  | Gradient Direction | X | Y | Z | Mean | Standard Deviation | Gradient Direction | X | Y | Z | Mean
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Delta/Mean
Instructions:
1. Fill in the name of the system being tested and the year of test in cell B2
2. Copy the completed tables into the report.

## Comparison Charts for Report
Input Parameters | Value
Comparison System Name
Body Coil NSNR
0 | #DIV/0!
0
Head Coil NSNR
0 | #DIV/0!
0
Body Coil Mean Uniformity
0 | 0
0
Head Coil Mean Uniformity
0 | 0
0
Mean Geometric Linearity Error (mm)
0 | #DIV/0!
0
Mean Geometric Distortion (%)
0 | #DIV/0!
0
Slice Width Error (mm)
0 | -5
0
Instructions:
1. Fill in the name of the system being compared with and the year of the comparison test in cell B2
2. Fill the comparison values into cells B8, B12, B16, B20, B24, B28 and B32
3. Copy the completed Charts into the report.